## General Instructions
GREEN COMMUNITY ANNUAL REPORT
1) In order for a municipality to maintain its Green Community Designation and be eligible for the next available Green Communities funding opportunity, annual reports must be submitted no later than December 5, 2014 for the reporting period July 1, 2012 – June 30, 2014. (since you did not file last year, we need two years worth of data) Late reports will deem a community ineligible.
2) Please be certain to address all areas in full. If certain requested information does not apply, then please note it as “N/A."
3) Please follow the instruction for reporting on each Criteria on the individual Criterion Excel Sheets.
4) If you have any questions on these reporting requirements, please contact your DOER Green Communities Regional Coordinator (RC). The objective is to have a dialogue with Green Communities staff BEFORE the report is due so that minimal follow-up with the municipality is required after the due date.
5) Print, fill out completely, and submit a signed copy of this page of the completed annual report as a PDF via the online system.
6) Submit your community's full Excel file electronically as Excel via the online system with any other supporting files. This page must be signed, made into a PDF, and submitted as a separate file.Please submit only one Excel file for the annual report. DOER will not accept multiple spreadsheets
7) NOTE: In the case of any criteria violations( e.g. a vehicle purchased that does not meet the fuel efficient vehicle policy), the municipality will be asked to provide a corrective action plan. A first-time violation will be factored into consideration when DOER awards funds under the next available Green Communities funding opportunity. A second violation will prohibit the municipality from being eligible for any funds in the next available Green Communities funding opportunity.
8) For Green Communities that have filed previous Annual Reports, new or changed information is highlighted in blue
9) Fields highlighted in yellow should be completed by Green Communities.
10) Fields highlighted in green have been pre-populated by the Regional Coordinators
Date Designated: | 2010-12-01 | PLEASE NOTE: For a municipality designated December 2012, the reporting period is 18 months, Jan 1 2013 - June 30 2014
Date of Annual Report Submission | 2014-12-05
Name of Preparer of Annual Report | Brian Smith
Title | Chairman, Energy Advisory Committee
Municipality Name | Harvard
I confirm that I have reviewed this report and verify all information is true.
Signature of Chief Executive Officer |  | The Chief Executive Officer is defined as the manager in any city having a manager and in any town having a city form of government, the mayor in any other city, and the board of selectmen in any other town unless some other officer or body is designated to perform the functions of a chief executive officer under the provisions of a local charter or laws having the force of a charter. Any signatures of designees will be considered an attestation that the signatory has been designated the designee by the municipality.
Tim Bragan
Town Administrator
Town of Harvard MA

## Crit 1 & 2
Criteria 1 and 2
Type of as-of-right siting approval received: |  |  |  |  | Generation, Solar
Type of expedited permitting approval received: |  |  |  |  | Local
REGULATIONS (zoning & permitting): 1) Have any significant changes been made to the zoning district(s) for which the community received Green Communities designation? Significant changes, such as changes to the geographic extent of the district, allowed uses, and dimensional requirements, would impact the ability to construct a qualifying clean energy use in the district. Overlay districts, such as water protection districts that impose special permitting requirements, count as significant changes. If yes, attach a letter from municipal counsel that describes the changes, outlines any potential impact on the siting of clean energy projects, and affirms continued compliance with the Green Communities As-of-Right Zoning and Expedited Permitting criteria, as well as a revised zoning map. Please select YES or NO in the dropdown on the right. If YES, attach letter from municipal counsel. | [8 empty] | NO
2) Have any significant changes been made to site plan, design, or other development review criteria or any permit review procedures that would impact the ability to permit qualifying clean energy uses as-of-right and in a timely manner? Significant changes would be anything that pertains to the “by-right” nature of the zoning or to the amount of time necessary to review required permits. If yes, attach a letter from municipal counsel that describes the changes, illustrates any potential impact on the siting of clean energy projects, and affirms continued compliance with the Green Communities As-of-Right Zoning and Expedited Permitting criteria. Please select YES or NO in the dropdown on the right. If YES, attach letter from municipal counsel. | [8 empty] | NO
3) Has the space designated for “as-of right” development for which the community received Green Communities designation been reduced? Please select YES or NO in the dropdown on the right. If YES, explain what has happened since the community applied for, and received, Green Communities designation and describe any plans the community may have to make such development feasible again | [8 empty] | NO
NARRATIVE:
PERMITTING:
Have any clean energy projects applied for approval under the zoning for which the community received Green Community Designation? | [8 empty] | YES
Please select YES or NO in the dropdown on the right. If YES, fill out Table 1 below:
Table 1 Expedited Permitting Projects (Please add rows as required)
Click here to view a sample version of this table.
PROJECT NAME | Type (Generation (Capacity), R&D, and/or Manufacturing) | As-of-right designated location | Applicant | Project Description | Permit(s) (use as many rows as required) | Status | Date Submitted | Decision Date | Other Pertinent Information
Solar Garden 1 | Renewable Energy Solar Photovoltaic Generation | 285 Ayer Road | Harvard Solar Garden Project 1, LLC | 294 kW Solar PV Array, Communiity Shared Solar | Building, Electrical | Approved | 2012-09-17 | 2012-10-01 | See note below.
Solar Garden 2 | Renewable Energy Solar Photovoltaic Generation | 285 Ayer Road | Harvard Solar Garden Project 2, LLC | 230 kW Solar PV Array, Communiity Shared Solar | Building, Electrical | TBD | TBD |  | See note below.
To insert additional rows, select this row, right-click, and select "Insert."
1. At the August 29, 2012 Town Meeting, the Town's Large Scale Ground Mounted Solar PV Facilities Overlay District was extended to add two properties behind 285 Ayer Road in the Commercial District to allow the Harvard Community Solar Garden to construct a 500kW Photovoltaic array. Solar Garden 1 and Solar Garden 2 are two "Gardens", for electrical power generation mostly to local/regional residential customers.
two properties behind 285 Ayer Road in the Commercial District to allow the Harvard Community Solar Garden to construct a 500kW Photovoltaic array.

## Crit 1 & 2 - Table 1 Sample
Click here to return to Table 1
Table 1: SAMPLE Expedited Permitting Projects
PROJECT NAME | Type (Generation (Capacity), R&D, and/or Manufacturing) | As-of-right designated location | Applicant | Project Description | Permit(s) (use as many rows as required) | Status | Date Submitted | Decision Date | Other Pertinent Information
Hilltop Wind | Renewable Energy (wind) 9 MW | landfill | Peak Performance, LLC. | Six 1.5 MW wind turbines on 16 acres of land | Site Plan Review | Approved | 2010-11-01 | 2011-01-21 | Modest design changes to conform to as-of-right bylaw
[5 empty] | Wetlands (access road is in buffer zone) | Approved | 2010-10-16 | 2010-12-02

## Crit 3 - Overview
Criterion 3 Instructions: Complete Steps 1-7 Below
1. Read and complete all questions below.
2. Complete Table 2: Progress
Please complete Table 2 below. ALL categories are required, with the exception of open space.
Fuel use from all vehicles, including those characterized as exempt AND non-exempt under Criterion 4, must be included.
Renewable Energy is a fuel source and the amount of renewable energy consumed by the Green Community must be included.
For MassEnergyInsight Users: the easiest way to populate this table is to look at the ERP Guidance Table 3b (MMBTU) for each year. Enter the category totals and the grand total. Any null energy use should be assigned to the proper category or at least be consistent across the years. Please note if baseline numbers have changed due to any adjustments made in MEI, and, if so, what those adjustments were. Please verify that Table 2 matches the information in Table 3 (or MassEnergyInsight if using it to report).
To include a percentage of the energy use of a Regional School district, please include 3 versions of Table 2: one for the combined and final totals, one for the municipality alone, and one for the RSD (in its entirety, noting the applicable percentage).
3. Complete Table 3: Energy Use
REMEMBER to load all diesel, gasoline, heating oil and propane energy usage, as well as renewable energy usage that is NOT net-metered, into MEI prior to providing a date that your data is complete. Also, confirm that Table 3 in MEI matches the data provided in Table 2. | If your community uses MassEnergyInsight (MEI) to provide data for Table 3, provide the date the information in MassEnergyInsight was last verified. By including a date below, you are confirming that the information in MEI is accurate and complete (including all fuels and renewable energy) and that you wish to report your Green Community annual energy usage directly through MEI. If your community does not use MEI, please complete “Crit 3 - Tbl 3 Non-MEI User Only." | DATE: Nov 2014
4. Complete Table 4: Energy Conservation Measures (ECMs)
Update your ECMs in Table 4 by: 1) changing the status and status date for any ECMs already included, 2) adding any new ECMs, 3) and providing an ECM type in Column F. | If your community uses an Energy Management Services (EMS) Agreement, your EMS annual report may be used to fulfill your Green Communities Annual Report Table 4 requirement. Please provide the date it was filed with DOER, or the date it will be filed if filing is anticipated in the next six months. Other efficiency measures undertaken independently of the performance contract should be reported using Table 4. All other portions of the Green Communities Annual Report must be completed. | DATE: NA
5. Complete Table 5: Renewable Energy Projects
Update your RE projects in Table 5 by: 1) changing any status dates, 2) adding, in bold, any new RE projects, and 3) drawing a line through any RE projects that have been abandoned. | Does your Green Community use any energy produced by renewable energy produced within your community? For example, solar PV systems installed on school or municipal buildings, RE PPAs in which the town buys the electricity, or renewable thermal. Please Reply NO or YES. (Delete the appropriate word in the box to the right) If YES, complete Table 5. | YES
6. Provide a Narrative
Provide a brief narrative explaining changes seen and what is anticipated for the next year. Any notes on successes or challenges are welcome. | Sample Narrative: Our buildings have a 12 percent decrease in energy use and the vehicles have a 4 percent reduction. We have implemented projects in the Town Hall and would have expected larger savings. We are investigating this. We are also intending to implement a large retrofit at the drinking water treatment plant this year that should yield a significant level of savings.
NARRATIVE: 1. Vehicle fuel energy use increased for all years. During the last annual report update, all of the fuel usage was updated to break down gasoline and diesel fuel and it appears that the usage for each year increased as a result of this verification. 2. The increase in Building usage from FY12 to FY13 was due to a significant increase in heating fuel use at the Bromfield School. The fuel usage increased 73% but the actual heating fuel usage adjusted for heating degree days increased by more than 50% over FY12. The Energy Committee performed a detailed analysis, which points to an increase in setback temperature to prevent freezing pipes. This has since been adjusted to lower settings. The result for FY14 seems to reflect a decrease when adjusted for weather. 3. The Town sewer was expanded to include Town Center residences.
7. Building Stock Changes
Please describe any building stock changes that have occurred since your GC baseline year. Include the year any whether any changes are a replacement, addition, removal or renovation. Include any changes in square footage for additions. Link to Appendix A in the ERP Guidance. | The Cable TV Studio was moved from the Old Library to the Bromfield High School. The cable studio was moved to an area that was conditioned but will be using more energy that the existing use. The energy use would be expected to be lower in the Old Library after the cable studio moved but there was an increase in the Old Library for 2013 and 2014 due to use of the building for the community Center on the Common project.

## Crit 3 - Yr6 Table 2 Progress
Criterion 3 Step 2: Complete Table 2 - Progress
Table 2: Timeline of Annual Municipal Energy Use
| Baseline MMBtu | Year 1 MMBtu | Year 2 MMBtu | Year 3 MMBtu | Year 4 MMBtu | Year 5 MMBtu | Year 6 MMBtu | Year 7 MMBtu | For Most Recent Year: Change vs. Baseline (%)
Note Fiscal or Calendar Year | FY 2009 | FY 2010 | FY 2011 | FY 2012 | FY 2013 | FY 2014 | FY 2015
Buildings | 20521 | 16769 | 18088 | 15113 | 19143 | 19289 |  |  | 94%
Water/Sewer & Pumping | 419 | 655 | 500 | 635 | 710 | 579 |  |  | 138.2%
Open Space (optional) | 2 | 2 | 2 | 1 | 2 | 5 |  |  | 250%
Vehicles | 3706 | 2676 | 3914 | 2596 | 3481 | 3278 |  |  | 88.45%
Street and Traffic Lights | 91 | 91 | 89 | 89 | 89 | 90 |  |  | 98.9%
TOTAL ENERGY CONSUMPTION | 24739 | 20193 | 22593 | 18434 | 23425 | 23241 |  |  | 6.055%

## Crit 3 -Tbl 3 for Non-MEI Users
Criterion 3 Step 3: Complete Table 3 OR use MEI (NOTE: provide a separate table for each year of implementation of Energy Reduction Plan and note the year here, e.g. FY11 or CY11)
Select Plan Year: | <Select Year>
NOTE: IF USING MASSENERGYINSIGHT, there is NO need to complete this table.
Table 3: Annual Municipal Energy Use in Native Units and MMBtu - Plan Year <Select Year>
Please enter "0" for any fuels not used
| Electricity |  | Natural Gas |  | #2 Distillate Fuel Oil |  | Propane |  | Gasoline |  | Diesel |  | Electric Renewable Energy |  | Thermal Renewable Energy |  | Total MMBtu
| kWh | MMBtu | Therms | MMBtu | Gallons | MMBtu | Gallons | MMBtu | Gallons | MMBtu | Gallons | MMBtu | kWh | MMBtu | Therms | MMBtu
School |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Town Hall |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Police Station |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
SUBTOTAL FOR BUILDINGS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Drinking Water/Wastewater Treatment Plant |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Pumping in Aggregate |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Open Space* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Vehicles in Aggregate |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Street and Traffic Lights in Aggregate |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
TOTAL ENERGY CONSUMPTION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Crit 3 - ECMs
Project Type | Definition/Includes:
Behav & Training | Behavioral programs, building operator training, etc.
Building Control | HVAC controls, energy management systems (NO vending misers)
Exterior Lighting | Streetlights, traffic lights, parking lots/garages, exterior lighting
Interior Lighting | Interior lighting & controls
Fuel Conversion | Conversion from one heating fuel type to another (often oil to natural gas)
Hot Water | Hot water heaters, pipe insulation, showerheads, faucet aerators, efficient dish washers
HVAC | Heating or cooling equipment, economizers, destratification fans, dehumidifiers, duct sealing or insulation (NO VFDs)
Pump/Motor/Drive | Pumps, motors, variable frequency/speed drives
Refrigeration | Refrigeration and controls, including vending misers
Retrocommission | Retrocommissioning and submetering projects
Vehicles | Energy-savings vehicles & their operations: GPS, anti-idling retrofits, routing software, big belly trash collectors, hybrid or EV purchases
Weatherization | Insulation, air-sealing, windows, etc.
Comprehensive | Large-scale retrofit of the entire building or multiple systems. Examples: building renovations, lighting + HVAC + EMS
Other | Use this only if types above do not fit
Status Type | Definition/Includes:
Complete | Project is complete & operational.
Active | Project is actively underway - procurement completed and in any stage of construction.
Planned | Identified project that will be pursued; may be in budgeting or procurement.
Abandoned | Project is not completed and will no longer be pursued.

## Crit 3 - Table 4 ECMs
Criterion 3 Step 4: Complete Table 4 - ECMs
| Click here to view a sample version of this table |  |  | Table 4 Energy Conservation Measures Data
ECMs |  |  |  | Status |  | Energy Data | [5 empty] | Financial Data |  |  |  | Reference Data
Category | Building/Site Name | Energy Conservation Measure Name | ECM Type (select one from drop-down) | Status (select one from drop-down) | Status Date (Completed with month/year or planned Qtr/year) | Projected Annual Electricity Savings (kWh) | Projected Annual Natural Gas Savings (therms) | Projected Annual Oil Savings (gallons) | Projected Annual Propane Savings (gallons) | Projected Annual Gasoline Savings (gallons) | Projected Annual Diesel Savings (gallons) | Projected Annual Cost Savings ($) | Total Installed Cost ($) | Green Community Grant ($) | Utility Incentives ($) | Net Cost ($) | Funding Source(s) for Net Costs | Source for Projected Savings
Buildings | Bromfield High School | Lighting Efficiency Upgrade | Interior Lighting | Complete | 2009-08-01 | 135974 | [5 empty] | 46266 | 114495 | 0 | 68229 | 46266 | Town | Lighting Contractor Audit
Buildings | Bromfield High School | Mechanical Upgrades - Boiler HW VSDs, Pneumatic Controls Conversion | Pump/Motor/Drive | Complete | 2010-12-01 | 54292 |  | 2248 |  |  |  | 13558 | 45466 | 0 | 17400 | 28066 | Town | (Ngrid WBA) B2Q Audit Nov-08
Buildings | Bromfield High School | Mechanical Upgrades - DCV, BAS Upgrade, Retrocommissioning, RTU Fan VSDs | Building Control | Complete | 2010-12-01 | 124822 | 1009 | 10998 |  |  |  | 48033 | 140223 | 0 | 42212 | 98011 | Town | (Ngrid WBA) B2Q Audit Nov-08
Buildings | Hildreth Elementary School | (ECM1) DCV, Building Automation System & Retrocommissioning | Building Control | Complete | 2013-02-01 | 6719 | 8434 |  |  |  |  | 11435 | 103659 | 95109 | 8550 | 0 |  | (Ngrid WBA) B2Q Audit Nov-08
Buildings | Hildreth Elementary School | Lighting Efficiency Upgrade | Interior Lighting | Complete | 2009-12-01 | 51018 | [5 empty] | 5673.22 | 32687 | 0 | 22881 | 9806 | Town | Lighting Contractor Audit
Buildings | Hildreth Elementary School | Replace two burners and one boiler; conversion to gas. | HVAC | Complete | 2009-12-01 | 295048.3446 | [5 empty] | 10000 | 30000 | 0 | 0 | 30000 | Town | Based on Heating Contractor Estimate
Buildings | Hildreth Elementary School | Boiler HW VSDs and Digital Controls | Pump/Motor/Drive | Complete | 2010-12-01 | 35626 | [5 empty] | 4988 | 53199 | 0 | 18300 | 34899 | Town | (Ngrid WBA) B2Q Audit Nov-08
Buildings | DPW, Town Hall, Old Library, Police, Bromfield House | Lighting Efficiency Upgrade | Interior Lighting | Complete | 2010-10-01 | 38967 | [5 empty] | 4318 | 22510 | 0 | 15757 | 6753 | Town | Lighting Contractor Audit 2010
Buildings | Police Station | Boilers Replacement | HVAC | Complete | 2013-05-01 |  | 584 |  |  |  |  | 1000 | 21925 | 19925 | 2000 | 0 |  | Based on Leominster Plumbing and Heating Quote, HEAC Calc and Mfr Specs
Buildings | Fire Station | (ECM5) Boiler Replacement | HVAC | Complete | 2012-01-01 |  | 1427 |  |  |  |  | 2828 | 11959 | 10459 | 1500 | 0 |  | DOER EED Audit Report 2009
Buildings | Fire Station and Hildreth House | Lighting Efficiency Upgrade | Interior Lighting | Complete | 2012-01-01 | 14372 | [5 empty] | 1598 | 3706.42 | 0 | 2761.28 | 945.14 | Town | Lighting Contractor Audit 2011
Buildings | Old Library | Boiler Replacememt / Gas Conversion | HVAC | Complete | 2013-09-01 |  | 890 |  |  |  |  | 5749 | 33721 | 0 | 2000 | 33721 | Town | Guardian Audit Report - Actual costs TBD
Buildings | Library | VSDs for Hot Water Circulating Pumps | Pump/Motor/Drive | Complete | 2014-06-01 | 4846 | [5 empty] | 775 | 14053 | 11653 | 2400 | 0 |  | Guardian Proposal
Buildings | Library | VSD for AHU (Vol Hall) | Pump/Motor/Drive | Complete | 2014-06-01 | 4785 | [5 empty] | 766 | 8352 | 4902 | 3450 | 0 |  | Guardian Proposal
Buildings | Bromfield High School | Exterior Lighting Upgrade | Exterior Lighting | Planned | Q4 2015 | 41940 | [5 empty] | 6291 | 40025 | 0 | 10485 | 29540 | Town | Guardian Proposal
Buildings | Bromfield High School | Hallway Lighting Occupancy Sensors | Interior Lighting | Planned | Q4 2014 | 14975 | [5 empty] | 2246 | 18877 | 16077 | 2800 | 0 |  | Guardian Proposal
Buildings | Hildreth House | HVAC System Replacement/ Insulation | HVAC | Planned | Q4 2015 |  | 770 |  |  |  |  | 1717 | 20000 | 20000 | 0 |  |  | HEAC Estimate; Quote in progress.
Buildings | Bromfield and Hildreth Schools | Monitoring Project - Peregrine | Retrocommission | Planned | Q4 2015 | 65105 | 4823 |  |  |  |  | 14964 | 60590 | 52090 | 8500 | 0 |  | Peregrine Proposal
Buildings | Library | Recommission EMS | Building Control | Planned | Q4 2016 | 4654 | 2284 |  |  |  |  | 5209 | 15000 | 0 | 0 | 0 |  | DOER EED Audit Report 2009
Buildings | Police Station | (ECM4a) HVAC/BAS upgrade | Building Control | Planned | Q4 2016 | 40471 | 2802 |  |  |  |  | 11490 | 27000 | 27000 | 0 | 0 |  | DOER EED Audit Report 2009
Buildings | Police Station | Exterior Lighting | Exterior Lighting | Planned | Q2 2016 | 6912 | [5 empty] | 1175 | 7316 | 5589 | 1727 | 0 |  | Guardian Audit Report
Buildings | DPW | Exterior Lighting | Exterior Lighting | Planned | Q2 2016 | 4327 | [5 empty] | 736 | 3356 | 2274 | 1082 | 0 |  | Guardian Audit Report
Buildings | Fire Station | Insulation | Weatherization | Planned | Q4 2016 |  | 745 |  |  |  |  | 1476 | 3190 | 3190 | 0 | 0 |  | DOER EED Audit Report 2009
Buildings | Police Station | Weatherization; Air Sealing and Insulation | Weatherization | Planned | Q4 2016 |  | 600 |  |  |  |  | 1112 | 5000 | 5000 | 0 | 0 |  | Rough Estimate based on 20% savings of FY12 usage and costs, 5 year payback
Buildings | Highway Dept Buildings | Weatherization; Air Sealing and Insulation | Weatherization | Planned | Q4 2016 |  |  | 184.2 |  |  |  | 600 | 3000 | 3000 | 0 | 0 |  | Rough Estimate based on 20% savings of FY12 usage and costs, 5 year payback
Buildings | New Library | Weatherization; Air Sealing and Insulation | Weatherization | Planned | Q4 2016 |  | 1800 |  |  |  |  | 1000 | 5000 | 5000 | 0 | 0 |  | Rough Estimate based on 20% savings of FY12 usage and costs, 5 year payback
Buildings | Still River Fire Station | Weatherization; Air Sealing and Insulation | Weatherization | Planned | Q4 2016 |  |  | 188.4 |  |  |  | 600 | 3000 | 3000 | 0 | 0 |  | Rough Estimate based on 20% savings of FY12 usage and costs, 5 year payback
Buildings | Bromfield House | Weatherization; Air Sealing and Insulation |  | Abandoned |  |  | 21.4 | 237 |  |  |  | 860.6 | 5000 | 5000 | 0 | 0 |  | Rough Estimate based on 20% savings of FY12 usage and costs, 5 year payback
Buildings | Town Hall | HVAC System Replacement/ Insulation |  | Abandoned
Buildings | Town Hall & Fire Station | Insulation |  | Abandoned
Buildings | Town Hall & Fire Station | Heating Controls - TH Heat Zones; FS Door Timer & Thermostats |  | Abandoned
[5 empty] | TOTAL Projected Savings | 944853.3446 | 26189.4 | 13855.6 | 0 | 0 | 0 | 206463.82 | 852309.42 | 289268 | 232034.28 | 318007.14
| TOTAL MMBtu SAVINGS |  |  | 7768.708 |  | 3223.8396 | 2618.94 | 1925.9284 | 0 | 0 | 0
|  |  | % Reduction | 33.43%
To insert additional rows, select this row, right-click, and select "Insert." | To insert additional rows, select this row, right-click, and select "Insert." |  |  | Planned
Buildings |  |  | Behav & Training | Complete
Street and Traffic Lights |  |  | Building Control | Active
Water/Sewer/Pumping |  |  | Exterior Lighting | Planned
Vehicles |  |  | Interior Lighting | Abandoned
Fuel Conversion
Hot Water
HVAC
Pump/Motor/Drive
Refrigeration
Retrocommission
Vehicles
Weatherization
Comprehensive
Other

## Crit 3 - Tbl 4 ECMs SAMPLE Data
SAMPLE Criterion 3 Step 4: Complete Table 4 - ECMs
Click here to return to Table 4 |  |  | Table 4 SAMPLE Energy Conservation Measures Data
ECMs |  |  | Status |  | Energy Data | [5 empty] | Financial Data |  |  |  |  | Reference Data
Category/Building Name | Energy Conservation Measure Name | ECM Type (select one from drop-down) | Status (select one from drop-down) | Status Date (Completed with month/year or planned Qtr/year) | Projected Annual Electricity Savings (kWh) | Projected Annual Natural Gas Savings (therms) | Projected Annual Oil Savings (gallons) | Projected Annual Propane Savings (gallons) | Projected Annual Gasoline Savings (gallons) | Projected Annual Diesel Savings (gallons) | Projected Annual Cost Savings ($) | Total Installed Cost ($) | Green Community Grant ($) | Utility Incentives ($) | Net Cost ($) | Funding Source(s) for Net Costs | Source for Projected Savings
Green School | Lighting Retrofit | Interior Lighting | Complete | 2011-02-01 | 95252 | 0 | 0 | 0 | 0 | 0 | 8000 | 25000 | 0 | 12500 | 12500 | Town Capital Plan FY2011 | http://www.energystar.gov/ia/business/downloads/BP_Checklist.pdf
Town Hall | Air Sealing | Weatherization | Active | 2014-12-01 | 0 | 230 | 0 | 0 | 0 | 0 | 1100 | 3500 | 1750 | 1750 | 0 | N/A | A-Z Energy Audit, 2008
Town Hall | New Boiler | HVAC | Planned | Q3 2015 | 0 | 17122 | 0 | 0 | 0 | 0 | 5000 | 50000 | 35000 | 15000 | 0 | N/A | Boilers-to-Go Quote, 2009
|  |  |  | BUILDINGS SUBTOTAL | 95252 | 17352 | 0 |  |  | 0 | 14100 | 78500 | 36750 | 29250 | 12500
Street Lights | LED Conversion | Exterior Lighting | Active | 2015-01-01 | 6000 | 0 | 0 | 0 | 0 | 0 | 2500 | 5000 | 0 | 2500 | 2500 | Town Operating Budget FY2011 | LED Signals Today Quote, 2009
|  |  |  | STREET AND TRAFFIC LIGHTS SUBTOTAL | 6000 | 0 | 0 | 0 | 0 | 0 | 2500 | 5000 | 0 | 2500 | 2500
Drinking Water Treatment Plant | 2 Variable Speed Drives | Pump/Motor/Drive | Complete | Q3 2012 | 500000 | 0 | 0 | 0 | 0 | 0 | 40000 | 200000 | 0 | 100000 | 100000 | Town Bond FY2012 | Energy Masters Technical Study, 2010
|  |  |  | WATER/SEWER/PUMPING SUBTOTAL | 500000 | 0 | 0 | 0 | 0 | 0 | 40000 | 200000 | 0 | 100000 | 100000
Vehicles | Anti-idling retrofit for 2 police cruisers | Vehicles | Complete | Q2 2014 | 0 | 0 | 400 | 400 | 400 | 400 | 4500 | 6000 | 0 | 0 | 6000 | Town Operating Budget FY2012 | green.autoblog.com
Vehicles | Purchase of 2010 Hybrid Civic Hybrid to replace 2001 Toyota Camry (incremental cost) | Vehicles | Planned | Q3 2015 | 0 | 0 | 260 | 260 | 260 | 260 | 900 | 6000 | 2000 | 0 | 4000 | Town Capital Plan FY2011 | www.fueleconomy.gov
|  |  |  | VEHICLES SUBTOTAL | 0 | 0 | 660 | 660 | 660 | 660 | 5400 | 12000 | 2000 | 0 | 10000
TOTAL Projected Savings |  |  |  |  | 601252 | 17352 | 660 | 660 | 660 | 660 | 62000 | 295500 | 38750 | 131750 | 125000
TOTAL MMBtu SAVINGS |  |  | 4790.7598 |  | 2051.4718 | 2411.928 | 81.84 | 81.84 | 81.84 | 81.84

## Crit 3 - Table 5 RE
Criterion 3 Step 5: Complete Table 5 - Renewable Energy
Measure |  |  |  | Status |  | Energy Data |  |  |  |  | Financial Data |  |  |  |  | Reference Data
Location | Site Type | Renewable Energy Project Name | Renewable Energy Project Type | Status (select one from drop-down) | Status Timeline (Completed with month/year or planned Qtr/year) | Size of System (kW or MMBtu) | Projected Annual Electricity Generation (kWh) | Thermal Fuel(s) Displaced | Projected Annual Thermal Fuel Savings | Projected Annual Gasoline Thermal Fuel Units | Projected Annual Cost Savings ($) | Total Installed Cost ($) | Green Community Grant ($) | Other Grant ($) | Net Cost ($) | Funding Source(s) for Net Costs | Source for Projected Savings
To insert additional rows, select this row, right-click, and select "Insert."
Harvard Elementary System |  |  | Solar Photovoltaic Roof Mounted system | Complete | 2012-12-01 | 4.3 kW | 4945 | NA | NA | NA | 741.75 | 40707 | NA | Commonwealth Solar II MTC $5000 Clean Energy Center $35707 | 0 | Actual | kWhr @ current electric rate of $0.15/kWhr
TOTAL Projected Savings | [6 empty] | 4945 | 0 | 0 | 0 | 741.75 | 40707 | 0 | 0 | 0
TOTAL RENEWABLE ENERGY PRODUCTION (MMBtu) |  |  |  |  | 16.8723 |  | 16.8723

## Crit 4 - Vehicle Policies
Criterion 4 - Purchase Fuel Efficient Vehicles
1) Municipalities must have a fuel efficient vehicle policy that reflects the most recent guidance provided by the Green Communities Division (see http://www.mass.gov/eea/energy-utilities-clean-tech/green-communities/gc-grant-program/criterion-4.html for most recent guidance).
Harvard's policy does reflect the most recent guidance.
2) Did you update your vehicle policy this year? | NO
3) Did you install electric vehicle charging stations? | NO
4) Did you implement anti-idling technology and/or campaigns? | NO
5) Did you implement a driving monitoring system that records miles driven and/or fuel consumption? | NO
6) Did you implement a fuel use reporting system for operators on fuel efficiency? | NO
7) Any other policies and/or technologies not listed above? Please estimate annual fuel savings from each new technology or policy in the yellow box below. Also please attach any new vehicle policies and technologies adopted by the municipality to this annual report.
NARRATIVE: The DPW has recommended to install an improved fuel use recording system that may help in our efforts to monitor usage.
8) For communities that met Criterion 4 through alternative compliance, provide a narrative in the space below of the policies and programs that have been adopted to reduce fuel consumption.
NARRATIVE:
8b) For communities that met Criterion 4 through alternative compliance, provide as a status regarding the success of these programs and policies.
NARRATIVE:
4) Have there been any changes to your vehicle inventory since the last annual report? | YES
5) Please provide the most current vehicle inventory that includes ALL vehicles (Both exempt and non-exempt) for ALL departments, including schools. Please do not report any exempt off-road vehicles, trailers, etc. The inventory submitted with either your most recent Annual Report filing or, if filing for the first time, submitted with your designation application, is either contained in the next worksheet, "Crit 4 - Table 6 Vehicle Inv.," or provided as separate file. In the inventory, 1) note in column L if a vehicle has been acquired since the last annual report, 2) if yes, note what the newly acquired vehicle replaced in the inventory in column M, and 3) note in column N if the vehicle has been retired. NOTE: For the purposes of the program, municipalities must use the EPA combined fuel economy estimate listed at FuelEconomy.gov and ensure that the rating greater than or equal to the requirement for the relevant vehicle type.

## Crit 4 - Table 6 Vehicle Inv.
Table 6 Sample Vehicle Inventory
Dept | Vehicle Function | GVWR > 8500 pounds? (Y or N) | E Exempt NE Non-Exempt | License Plate or VIN | Year / Make | Model / Type | Service Date | Drive System 2WD, 4WD, AWD | Required EPA Combined MPG | EPA City/Hwy/Combined MPG | Mileage (as of Date) | Annual Miles Driven | Replacement Schedule Interval | Planned Replacement Year | Is this a new acquisition? | If new acquisition, what vehicle did it replace? | Removed from inventory?
Non-Exempt Vehicles
Fire | Administrative | N | NE | MF9791 1FMEU73E09UA15335 | 2009 Ford | Explorer 6 cyl | 2008 | 4WD | 18 | 13/19/16 | 67,111 (Dec 2014) | 7k | 8 years | FY16
Exempt Vehicles - The Police Cruisers below are considered Exempt but will become Non-Exempt if a high efficiency option becomes available.
Police | Police Cruiser | N | E | 73313 1FM5K8ARXEGA70952 | 2014 Ford | Explorer | 2014-04-01 | AWD | NA | 18/28 | 15,700 (Dec 2014) | 25k | 4 years | FY19 | YES
| Patrol Car 1 | 3643 lbs
Police | Police Cruiser | N | E | MP66 2FABP7BV5BX180673 | 2012 Ford | Crown Victoria | 2012-06-12 | 2WD | NA | 16/24 | 39,476 (Dec 2014) | 19k | 4 years | FY18
| Patrol Car 2 | 4129 lbs |  |  |  | Flex Fuel
Police | Police Cruiser | N | E | MP67 1FMJU1G55AE60438 | 2010 Ford | Expedition | 2010-08-01 | 4WD | NA | 16/20 | 71,397 (Dec 2014) | 12K | 4 years | FY16
| Patrol Car 3 | 7239 lbs |  |  |  | Flex Fuel
Police | Police Cruiser | N | E | MP15 2B3CL1CT7BH587510 | 2011 Dodge | Charger | 2011-09-01 | 2WD | NA | 16/25 | 41,500 (Dec. 2014) | 10k | 4 years | FY17
| Patrol Car 4 | 4253 lbs
Police | Police Cruiser | N | E | MP441D 1FMEU7DEXAUA28127 | 2010 Ford | Explorer | 2010-01-01 | 4WD | NA | 14/20 | 65,756 (Dec 2014) | 15K | 4 years | FY15
| Patrol Car 5 | 5995 lbs
Police | Police Cruiser |  |  | 1FAHP27W28G1185603 | 2008 Ford | Taurus | Oct-08 | [9 empty] | YES
Schools | Pickup with Plow |  | E | M67344 1GBJK34UX3E345271 | 2003 Chevrolet | Md. 3500 HD 1-Ton Dump with Plow | Sep-03 | 4x4 | NA | NA | 56,292 (Dec '14) | 3k | 10 years | Not Planned | Transferred from DPW
Schools | Pickup with Plow | Y 10400 lbs | E | M85010 1FTRF3B64BEB15196 | 2011 Ford | F-350 SRWSUP | 2010-11-01 | 4WD | NA | NA | 7,021 (Dec '14) | 3k | > 10 years | Not Planned
Schools | Chef Paul's Van |  | E | M81044 1FTSE34L68DA14425 | 2008 Ford | Md. E350 Cargo Van | Dec-07 |  | NA | NA | 25,700 (Dec '14) | 1k | 8 years | Not Planned | Transferred from DPW
Schools |  | Y |  | 1GNEK13V61J264355 | 2001 Chevrolet | Tahoe K1500 | 2001 | [9 empty] | YES
Fire | Antique | Y | E | MF5121 61455 | 1930 SEAGRAVES | Suburbanite | NA |  | NA | NA | 3,201 (Dec '14) |  |  | Not Planned
Fire | Reserve Engine 1 | Y | E | MF1691 B85F1501 | 1965 MACK | Pumper | 1965 |  | NA | NA | 44,513 (Dec '14) | 1k |  | Not Planned
Fire | Tanker | Y | E | MF6399 1M2P198C4KW003834 | 1989 MACK | RD690S Tanker | 1989 |  | NA | NA | 14,109 (Dec '14) | 1k |  | FY16
Fire | Engine 2 | Y | E | MF7568 4P1CT02M6XA000939 | 1999 PIERCE | Pumper | 1999 |  | NA | NA | 21,374 (Dec '14) | 4k |  | FY19
Fire | Engine 3 | Y | E | MF8611 1HTSEADR22H532902 | 2002 International | KME Fire Truck | 2002 | 4WD | NA | NA | 10,706 (Dec '14) | 1k |  | FY17
Fire | Engine 1 | Y | E | MF3349 1F9EA28TX5CST2028 | 2005 SEAGRAVE | Truck-AB40KF | 2005 |  | NA | NA | 13,462 (Dec '14) | 1k |  | FY20
Fire | Forestry | Y | E | MF6396 1FDUF5HT9BEA26982 | 2011 FORD | F-550 SD | 2011-10-01 | 4WD | NA | NA | 2,728 (Dec '14) | 1k |  | FY26
Fire | Engine 4 | Y | E | MFA591 1K9AF4286CN058397 | 2012 KME | Pumper | 2012-06-12 |  | NA | NA | 1,933 (Dec '14) | 1k |  | FY27
Harvard Ambulance Squad | Ambulance |  | E | M52095 LGBE4V1947F425799 | 2007 Chevy | C4500 | Mar-08 | 2WD | NA | NA | 47,539 (Dec '14) | 7k | 10 | FY18
DPW | T-1 | Y 10000 | E | M82676 1FTWF3B59AEB36070 | 2010 Ford | Md. F-350 PICK-UP (4x4) W/PLOW | 2010-06-10 | 4WD | NA | NA |  | 5k | 8
DPW | T-2 | Y 9200 | E | M74596 1GCHK24264E358037 | 2004 Chevrolet | Md. 2500 HD - PICK-UP (4x4) W/ PLOW | 2005-02-05 | 4WD | NA | NA |  | 5k | 8
DPW | T-3 | Y 17950 | E | M84094 1FDUF5HT9CEB43463 | 2012 Ford | Md. F-550 - 1-TON DUMP (4x4) W/PLOW | 2012-07-01 | 4WD | NA | NA |  | 5k | 10
DPW | T-4 | Y 17950 | E | M77575 1FDAF57Y78ED32796 | 2008 Ford | Md. F-550 - 1-TON DUMP (4x4) W/ PLOW & SANDER | 2008-05-08 | 4WD | NA | NA |  | 5k | 10
DPW | T-5 | Y 17950 | E | M85021 1FDUF5HYXBEB41974 | 2011 Ford | Md. F-550 - 1-TON DUMP (4x4) W/ PLOW | 2011-01-11 | 4WD | NA | NA |  | 5k | 10
DPW | T-6 | Y 17950 | E | M79340 1FDAF57Y36ED70104 | 2006 Ford | Md. F-550 - 1-TON DUMP (4x4) W/ PLOW | 2007-03-07 | 4WD | NA | NA |  | 5k | 10
DPW | T-7 |  | E | M92462 1FTRF3B69EEB47310 | 2014 Ford | Md. F-350 PICK-UP W/ PLOW | Oct-14 | 4x4 | NA | NA |  | 5k | 8 |  | YES
DPW | D-1 | Y 37060 | E | M67677 1M2P263C23M034354 | 2003 Mack | DUMP W/ SANDER AND PLOW | 2002-11-01 |  | NA | NA |  |  | 18
DPW | D-2 | Y 37060 | E | M66839 1M2P288C82M034099 | 2002 Mack | DUMP W/ SANDER AND PLOW | 2002-01-02 |  | NA | NA |  |  | 18
DPW | D-3 |  | E | M60708 1M2P288C3XM028136 | 1999 Mack | DUMP W/ SANDER AND PLOW | 1998-12-01 |  | NA | NA |  |  | 18 |  | Transferred (back) from Schools to DPW
DPW | D-4 | Y 37060 | E | M57377 1FDYN90T6WVA35510 | 1998 Ford | DUMP W/ PLOW | 1998-01-01 |  | NA | NA |  |  | 15
DPW | D-5 | Y 37060 | E | M44263 1M2P288C9TM019953 | 1996 Mack | DUMP W/ SANDER AND PLOW | 1995-08-01 |  | NA | NA |  |  | 18
DPW | D-6 | Y 45120 | E | M85129 1HTGPSHR7CJ451565 | 2012 International | DUMP W/SANDER AND PLOW | 2011-07-11 |  | NA | NA |  |  | 18
DPW | CB-1 | Y 29800 | E | M40610 1HTSDZZNSLH690434 | 1990 International | CB CLEANER / PLOW | 1989-06-01 |  | NA | NA | 37,859 (Dec '14) |  | 20
DPW | L-1 | Y 24000 | E | M65647 9SW01035 | 2000 Caterpillar | Md. 924G - FRONT END LOADER | 2000-10-01 |  | NA | NA |  |  | 15
DPW | L-2 |  | E | M3918 1DW544KZVEE663474 | 2014 Deere | Md. 544K FRONT END LOADER | 2014-10-14 |  | NA | NA |  |  | 15 |  | YES
DPW | EXC-1 | Y 11000 | E | FF050DX270655 | 2009 Deere | Md. 50 D - MINI-EXCAVATOR | 2009-06-09 |  | NA | NA |  |  | 15
DPW | BH-1 | Y 24700 | E | M3913 1T0310EKKEG269746 | 2014 Deere | Md. 310EK LOADER/ BACKHOE | 2014-11-14 |  | NA | NA |  |  | 15 |  | YES
DPW | S-1 | Y 15500 | E | M60703 S8723S | 1999 Elgin | Md. PELICAN SE - STREET SWEEPER | 1999-04-01 |  | NA | NA | 11,788 (Dec '14) |  | 12
DPW |  |  |  |  | 2000 Chevrolet | GMT400 Pickup | 2000 | [9 empty] | YES
DPW |  |  |  | T0710DD822871 | 1996 Deere | Md. 710D LOADER/ BACKHOE | 1996 | [9 empty] | YES
DPW |  |  |  | JD670AG011027 | 1982 Deere | MOTOR GRADER | 1997 | [9 empty] | YES
Note that at present DPW does not regularly maintain vehicle mileage records. However, an improved fueling system for DPW vehicles is under consideration for approval at Annual Town Meeting that may make this more feasible.

## Crit 4 - Table 6 SAMPLE
Table 6: SAMPLE Vehicle Inventory
Click here to return to Table 6
Model | Make | Model Year | Month/Year Purchased | Drive System: 2WD, 4 WD, or AWD | > 8500 pounds? (Y or N or NA) | Exempt or Non-Exempt? E or NE | COMBINED MPG Rating | Vehicle Function | Is this a new acquisition? | If new acquisition, what vehicle did it replace? | Removed from inventory?
Honda | Civic Hybrid | 2013 | July, 2013 | 2WD | N | NE | 43 | Inspector/Assessor shared car | YES | see vehicle on line 8 now deleted
Ford | Crown Victoria | 2011 | April, 2011 | 2WD | NA | E | 14 | Police CRUISER
Ford | Crown Victoria | 1999 |  | 2WD | N | NE | 13 | Assesor |  |  | YES

## Crit 5 - Table 7
Criterion 5 - Stretch Code Adoption
Date Stretch Code Concurrency Period Began: |  |  |  | 2011-07-01
Date Stretch Code Became Sole Effective Code: |  |  |  | 2012-01-01
Have there been any new building permits since the Strech Code became sole effective code? |  |  |  | YES
If filing for the first time, please fill out the table below and add rows as as needed. Please list in Table below all residential and commercial projects that were affected by the Stretch Code and for which building permits have been issued since the Stretch Code became the sole effective code, along with accompanying information noted below. If a previous Annual Report was filed, your table from the previous report is provided below for updating. For notes on Certificate of Occupancy: if New Residential (NR), provide final HERS Rating; If Residential Retrofit (RR) provide HERS rating OR "P" for Prescriptive; If Commercial and > 100K sq ft, note percent energy savings relative to ASHRAE 90.1-2007.
Table 7 Stretch Code Projects (Add more rows as necessary)
Address of Building | New Residential (NR), Residential Retrofit (RR) or Commercial (C) | Date Building Permit Issued | Dated Certificate of Occupancy Issued (if not issued, please note NA) | Notes on Cert of Occupancy
Trail Ridge Dr (003A/B) | NR | 2014-07-07 | N/A
Trail Ridge Dr (003C/D) | NR | 2014-07-07 | N/A
Lovers Ln (018) | NR | 2014-06-23 | N/A
Old Littleton Rd (062) Lot 2 | NR | 2014-05-19 | N/A
W. Bare Hill Rd (025) Lot 42 | NR | 2014-03-24 | N/A
Penninsula Rd (031) | NR | 2014-02-03 | TBD
Old Mill Rd (117) Lot 2 | NR | 2014-01-27 | N/A
Penninsula Drive (037) | NR | 2013-11-18 | TBD
Trail Ridge Way (013 AB) | NR | 2013-07-29 | N/A
Trail Ridge Way (013 CD) | NR | 2013-07-29 | N/A
Old Littleton Rd (085) | NR | 2013-04-22 | N/A
Prospect Hill Rd (105) | NR | 2013-04-09 | N/A
To insert additional rows, select this row, right-click, and select "Insert."
Ann Lees Rd (037) Lot 30 | NR | 2012-11-26 | NA
Whitney Rd (075) Lot 2 | NR | 2012-09-24 | NA
Westcott Rd (064) | NR | 2012-11-19 | NA
Cove Rd (024) | NR | 2012-09-24 | NA
S. Shaker Rd (010) | NR | 2012-08-13 | NA
Mass Ave (086) Lot 2b | NR | 2012-03-26 | NA
Tahanto Trail (019) | NR | 2012-03-26 | NA
Mill Rd (031) Lot 2 | NR | 2012-03-26 | NA

## Other Notes
Other Notes
Please provide in the space below any anecdotal information about your community's experience with the Stretch Code (e.g. local banks loaning more to people purchasing stretch code homes, satisfied homeowners, frustrated builders, etc.).
We have not been able to obtain any feedback about the Stretch Code.
Please provide in the space below any information about additional measures taken by the community that are consistent with its status as a designated Green Community(e.g. additional as-of-right siting put in place since designation for renewable or alternative energy generation, R&D, or Manufacturing facilities).
Harvard continued to push forward with “Harvard Solar Gardens”, a member-owned Community-Shared Solar facility (referenced in ”Criteria 1 & 2" Row 19) designed to provide renewable energy to town residents and businesses, as well as other electric customers in National Grid’s WCMA load zone. At the beginning of FY2014, several key issues remained to be resolved, most notably the question of local taxation - i.e. whether community-shared solar systems would be exempt from local taxation in the same manner as provided by MGL Ch 59 S5.45. The question ultimately was decided at Annual Town Meeting, a Home Rule Petition requiring 2/3 majority: ARTICLE 48: HOME RULE LEGISLATION - TO MAKE COMMUNITY SOLAR SHARES EXEMPT FROM LOCAL TAXATION”. The article passed and was filed with the MA legislature, signed into law on 11/19/14. On June 27th, 2014, Harvard Solar Garden 1 went live.
Please provide in the space below what percentage of your municipality's electricity consumption is supported by renewable energy generation? Of this percentage, how much of this is onsite generation? How much of this is net metering? How much of this is through the purchase of Renewable Energy Certificates (RECs)?
The portion of the Town's electric consumption supplied by renewable generation is onsite generation. In FY14, 0.001% of the total Town electric consumption was produced by the solar panels on the Harvard Elementary School. (6900 kWhr / 556302000 kWhr) There is no net metering credits of purchase of RECs. Note that the Town of Harvard has is currently evaluating Net Metering Credit Purchase Agreements for possible implementation in FY15-FY16.

## RE Guidance
GUIDANCE FOR REPORTING RENEWABLE ENERGY GENERATION AS ENERGY CONSUMPTION
The following scenarios apply to renewable energy systems that are interconnected to the electric grid. It is possible that more than one scenario applies to the same renewable energy system; for example, a solar PV system may produce more energy than its building uses (scenario 2) in the summer, but less energy than its building uses in the winter (scenario 1). Ideally, calculations should be done for each month.
RE Scenario 1: Net Metering, System Generation < Building Use
If the building uses more electricity than the net metered RE system produces, then a Green Community should add in the amount of generation. This means the total building energy use = kWh from electric bill + kWh generated by RE.
Information Needed: The actual amount of RE generation in kWh for each month.
Find and Calculate: Find the kWh generated each month from your RE system. Contact your Regional Coordinator if you are having trouble finding the KWh generated each month.
Action: Load the building renewable energy usage into MassEnergyInsight (MEI). Create a separate account for RE for each building. Load the RE generation for each month by going to “Upload a Spreadsheet.” Choose “solar electric” or “wind power.” Upload your usage data. Or, report to DOER in your Annual Report.
RE Scenario 2: Net Metering, System Generation > Building Use
If the net metered RE system produces more electricity than the connected building uses (ie., the utility bill shows a negative kWh amount of usage), then a Green Community should not add in the amount of generation over and above what the building used. This means the total building energy use = kWh generated by RE – kWh credited to grid for net metering.
Information Needed: The actual amount of RE generation in kWh and the actual amount of RE generation in kWh credited as net metering for each month.
Find and Calculate: Find the total kWh generated each month from your RE system. Find the kWh credited to you from net metering to the grid for each month. Subtract the net metering amount from the total generation. This is your building’s NET use of renewable energy. Contact your Regional Coordinator if you are having trouble finding the KWh generated and credited each month.
Action: Load the NET building renewable energy usage into MassEnergyInsight (MEI). Create a separate account for RE for each building. Load the RE generation for each month by going to “Upload a Spreadsheet.” Choose “solar electric” or “wind power.” Upload your usage data. Or, report to DOER in your Anual Report.
RE Scenario 3: Virtual Net Metering
If a building is virtually net metered, in which the RE system has its own separate meter but the financial credits are applied to a different building, then the actual amount of electricity use of the building will be on its electric bill. For example, a municipality may have built a solar PV array on a closed landfill. The PV system has a meter but does not link to any buildings that consume a substantial amount of energy. (The PV system will be linked to its inverter and perhaps to a small shed or security lights.) The financial value of the electricity that is generated by the landfill solar PV system is applied to an account for electric use at the town hall and to an account for electric use at the library. The electric bills for the town hall and library thus will show the amount of electricity that is actually used by those buildings, but only charge for the amount of electricity above and beyond what was generated by the solar PV system on the landfill. See DOER’s Net Metering page for more details on credits for renewable generation.
Information Needed: Written confirmation of virtual net metering documenting there is a separate meter used for the RE system with only a small load-side usage. The load-side usage should be reported to MassEnergyInsight under Scenario 2 above.
Action: Generation does not impact baseline and should NOT be loaded into MEI. Provide information needed as noted above. Report load-side usage under Scenario 2 above.
RE Scenario 4: RE Generation to Control Rates (for MLPs)
If an MLP uses its RE generation to control its system-wide rates and does not use the RE for a specific municipal building, either directly or through virtual net metering, then the amount of RE generation does not need to be included.
To confirm: Written confirmation of RE generation for system-wide benefit with no virtual net metering. The load-side usage should be reported to MassEnergyInsight under Scenario 2 above.
Action: Generation does not impact baseline and should NOT be loaded into MEI. Provide information needed as noted above.

## DOER reference (hidden)
blank | blank | blank | blank | <Select YES or NO> | <Select Year> | <Select Drive System> | <Select One> | <Select One> | <Select One>
2010-05-01 | R&D | 43D | Yes per designation ap | YES | FY2008 | 2WD, 4 WD, or AWD | Y | E | NR
2010-12-01 | MFR | Local | Yes per AR 2011 | NO | FY2009 | 4WD | N | NE | RR
2011-07-01 | R&D and MFR |  | No per designation app |  | FY2010 | AWD | NA |  | C
2011-12-01 | R&D & MFR & Solar |  |  |  | FY2011
2012-07-01 | Generation; Solar |  |  |  | FY2012
| Generation; Wind |  |  |  | FY2013
| Generation; Solar & Wind |  |  |  | FY2014
CY2007
CY2008
CY2009
CY2010
CY2011
CY2012
CY2013
CY2014

## Reference (hidden)
Conversion Factors
0.003412 | KWH of Electricity to MMBTU
0.1 | Therms to MMBTU
0.139 | Gallons of Fuel Oil to MMBTU
0.091 | Gallons of Propane to MMBTU
0.124 | Gallons of Gasoline to MMBTU
0.139 | Gallons of Diesel to MMBTU
GHG Emissions Conversions | [6 empty] | kBtu Conversions
Fuel | CO2 Emissions Factor (lbs CO2/unit) | CO2 Emissions Factor (metric tonnes CO2/unit) | GHG Emissions Factor (lbs CO2e/unit) | GHG Emissions Factor (Metric Tons CO2e/unit) | Reference for GHG emissions | Reference for CO2 emissions | kBtu Conversion Factor | Reference for kBtu conversion
Grid Electricity CY2001 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.1892 | 0.00053934 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity CY2002 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.1989 | 0.00054373 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity CY2003 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.2505 | 0.00056714 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity CY2004 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.2183 | 0.00055251 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity CY2005 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.2193 | 0.00055299 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity CY2006 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.0848 | 0.00049198 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity CY2007 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.108 | 0.00050252 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity CY2008 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.0224 | 0.00046368 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity CY2009 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 0.9572 | 0.00043411 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity CY2010 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 0.96344 | 0.00043693 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity CY2011 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 0.834 | 0.00037823 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity CY2012 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 0.834 | 0.00037823 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity CY2013 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 0.834 | 0.00037823 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity CY2014 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 0.834 | 0.00037823 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity FY2002 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.1941 | 0.00054154 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity FY2003 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.2247 | 0.00055543 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity FY2004 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.2344 | 0.00055982 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity FY2005 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.2188 | 0.00055275 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity FY2006 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.1521 | 0.00052248 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity FY2007 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.0964 | 0.00049725 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity FY2008 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 1.0652 | 0.0004831 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity FY2009 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 0.98981 | 0.00044889 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity FY2010 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 0.96032 | 0.00043552 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity FY2011 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 0.89872 | 0.00040758 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity FY2012 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 0.89872 | 0.00040758 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity FY2013 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 0.89872 | 0.00040758 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Grid Electricity FY2014 | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | 0.89872 | 0.00040758 | MA-based combo from MassDEP based on GHG inventory |  | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Natural Gas (therms) | 11.6977 | 0.0053051 | 11.7286 | 0.0053191 | http://www.energystar.gov/ia/business/evaluate_performance/Emissions_Supporting_Doc.pdf | http://www.eia.gov/oiaf/1605/coefficients.html | 100 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Natural Gas (CCF) | 11.9668 | 0.0054271 | 11.9984 | 0.0054414 | calculated based off of 1 CCF=1.023 therms | calculated based off of 1 CCF=1.023 therms | 102.3 | http://www.eia.gov/tools/faqs/faq.cfm?id=45&t=8
Oil #2/ Diesel for Buildings (gallons) | 22.3769 | 0.010148 | 22.494 | 0.010201 | http://www.energystar.gov/ia/business/evaluate_performance/Emissions_Supporting_Doc.pdf | http://www.eia.gov/oiaf/1605/coefficients.html | 138.6905 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Oil #4 (gallons) | 22.3769 | 0.010148 | 22.494 | 0.010201 | http://www.energystar.gov/ia/business/evaluate_performance/Emissions_Supporting_Doc.pdf | http://www.eia.gov/oiaf/1605/coefficients.html | 138.6905 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Oil #6 (gallons) | 26.0146 | 0.011798 | 26.1416 | 0.011856 | http://www.energystar.gov/ia/business/evaluate_performance/Emissions_Supporting_Doc.pdf | http://www.eia.gov/oiaf/1605/coefficients.html | 149.6905 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
On-Site CHP Electricity (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
On-Site Hydro (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
On-Site Solar PV Electricity (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
On-Site Wind Electricity (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 3.412 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Electric Vehicles (kWh) | MassDEP factor calculated CO2e | MassDEP factor calculated CO2e | same as Grid Electricity | same as Grid Electricity | MA-based combo from MassDEP based on GHG inventory | 0 | 0 | 0
Diesel Vehicles (gallons) | 22.3769 | 0.010148 | 22.3769 | 0.010148 | based on CO2 number, followed guidance from Sharon Webber (DEP) on non-CO2 emissions based on mobile sector of MA GHG emissions total | http://www.eia.gov/oiaf/1605/coefficients.html | 138.6905 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
E-85, Ethanol-85 (gallons) | 2.9542 | 0.0013398 | 2.9542 | 0.0013398 | based on CO2 number, followed guidance from Sharon Webber (DEP) on non-CO2 emissions based on mobile sector of MA GHG emissions total | http://www.eia.gov/oiaf/1605/coefficients.html | 84.8333 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Gasoline (gallons) | 19.6432 | 0.0089085 | 19.6432 | 0.0089085 | based on CO2 number, followed guidance from Sharon Webber (DEP) on non-CO2 emissions based on mobile sector of MA GHG emissions total | http://www.eia.gov/oiaf/1605/coefficients.html | 125.0714 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Propane (gallons) | 12.6545 | 0.005739 | 12.7829 | 0.0057972 | http://www.energystar.gov/ia/business/evaluate_performance/Emissions_Supporting_Doc.pdf | http://www.eia.gov/oiaf/1605/coefficients.html | 91.3333 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Propane (gallons) Vehicles | 12.6545 | 0.005739 | 12.6545 | 0.005739 | http://www.energystar.gov/ia/business/evaluate_performance/Emissions_Supporting_Doc.pdf | http://www.eia.gov/oiaf/1605/coefficients.html | 91.3333 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Jet Fuel (gallons) | 21.0983 | 0.0095684 | 21.0983 | 0.0095684 | based on CO2 number, followed guidance from Sharon Webber (DEP) on non-CO2 emissions based on mobile sector of MA GHG emissions total | http://www.eia.gov/oiaf/1605/coefficients.html | 127.5 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Used Vegetable Oil | 0 | 0 | 0 | 0 | 0 | 0 | 120 | http://www.theclimateregistry.org/downloads/2012/01/2012-Climate-Registry-Default-Emissions-Factors.pdf
Biodiesel (B100) (gallons) | 0 | 0 | 0 | 0 | http://www.eia.gov/oiaf/1605/coefficients.html | http://www.eia.gov/oiaf/1605/coefficients.html | 127.5952 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Biodiesel (B20) (gallons) | 17.9016 | 0.0081186 | 17.9016 | 0.0081186 | based on CO2 number, followed guidance from Sharon Webber (DEP) on non-CO2 emissions based on mobile sector of MA GHG emissions total | http://www.eia.gov/oiaf/1605/coefficients.html | 136 | Calculated based on B100+diesel, did not round to give Bio credit
Biodiesel (B5) (gallons) | 21.2526 | 0.0096384 | 21.2526 | 0.0096384 | based on CO2 number, followed guidance from Sharon Webber (DEP) on non-CO2 emissions based on mobile sector of MA GHG emissions total | http://www.eia.gov/oiaf/1605/coefficients.html | 138 | Calculated based on B100+diesel, did not round to give Bio credit
CNG (gallons) | 15.2197 | 0.0069023 | 15.2197 | 0.0069023 | based on CO2 number, followed guidance from Sharon Webber (DEP) on non-CO2 emissions based on mobile sector of MA GHG emissions total | http://www.theclimateregistry.org/downloads/2013/01/2013-Climate-Registry-Default-Emissions-Factors.pdf; 1 Gallon Gasoline Equivalent = 126.67 SCF- CNG is typically sold in GGE instead of SCF | 22.453 | http://www.afdc.energy.gov/pdfs/afv_info.pdf
LNG (gallons) | 9.8326 | 0.0044592 | 9.8326 | 0.0044592 | based on CO2 number, followed guidance from Sharon Webber (DEP) on non-CO2 emissions based on mobile sector of MA GHG emissions total | http://www.theclimateregistry.org/downloads/2013/01/2013-Climate-Registry-Default-Emissions-Factors.pdf | 84.82 | http://www.afdc.energy.gov/pdfs/afv_info.pdf
Purchased Steam (mlbs) | EPA only calculated CO2e for district steam | EPA only calculated CO2e for district steam | 207.8218 | 0.09425 | http://www.energystar.gov/ia/business/evaluate_performance/Emissions_Supporting_Doc.pdf | based on ave of Boston & Cambridge calculated data T:\LBE\Agency-Campus Energy-GHG Tracking & Reporting\LBE Database\Account Updates from Agency\Steam | 1194 | https://www.energystar.gov/ia/business/tools_resources/target_finder/help/Energy_Units_Conversion_Table.htm
Coal (tons) | 4152.3288 | 1.8831 | 4192.1653 | 1.9012 | http://www.energystar.gov/ia/business/evaluate_performance/Emissions_Supporting_Doc.pdf | http://www.eia.gov/oiaf/1605/coefficients.html | 20191.5 | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Wood Pellets (tons) | 0 | 0 | 0 | 0 | based upon guidance from Dwayne Breger & Rob Rizzo | based upon guidance from Dwayne Breger & Rob Rizzo | 16500 | www.eia.gov/neic/experts/heatcalc.xls
Cord Wood (chord) | 0 | 0 | 0 | 0 | based upon guidance from Dwayne Breger & Rob Rizzo | based upon guidance from Dwayne Breger & Rob Rizzo | 22000 | www.eia.gov/neic/experts/heatcalc.xls
How to calculate Energy Use Intensity (EUI) for a building/s: add up all kBtu totals for all building/s energy consumption and divide by the building or site square footage.
Energy Efficiency Equivalencies
Fuel | Equivalency Factor (divide by factor) | Reference to calculate equivalents | Comments
MA Homes powered by Electricity per year (kWh) CY2012 | 7600 | US EIA 2011 data for Mass., with corroboration from MassDOER on kWh and therms; DOER data for heating oil
MA Homes heated by Natural Gas per year (therms) CY2012 | 943
MA Homes heated by Oil per year (gallons) CY2012 | 800
MA Homes total energy use (MMBtu) CY2012 | 129
MA Homes powered by Electricity per year (kWh) CY2011 | 7200 | US EIA 2010 data for Mass., with corroboration from MassDOER on kWh and therms; DOER data for heating oil
MA Homes heated by Natural Gas per year (therms) CY2011 | 1020
MA Homes heated by Oil per year (gallons) CY2011 | 800
MA Homes total energy use (MMBtu) CY2011 | 131.2
U.S. Vehicle GHG emissions per year | 4.75 | http://www.epa.gov/cleanenergy/energy-resources/refs.html#vehicles | Formula allows for MA specific number in the future if interested
If colored green, please edit upon release of updated numbers
Terms of Art
Use: | Instead of:
Clean Energy | Green
Combined Heat and Power (CHP) | Co-generation
Wind Turbines | Windmills
Ground Source Heat Pumps (GSHP) | Geothermal
Massachusetts Homes for electricity and gas equivalences
National car equivalencies
MA Capacity Factors
Renewable | Factor | Reference
Solar Capacity | 0.13 | Class I Regulations
Wind Capacity, land-based | 0.26
Wind Capacity, offshore | 0.38
Energy Efficiency Equivalencies
Unit | Factor (Multiply by factor) | Resulting Unit
short ton | 1.1023 | metric ton
Megawatt (MW) | 1000 | kilowatts (kW)
kilowatts (kW) | 8760 | kilowatt hours (kWh)
Gigawatt (GW) | 1000000 | kilowatts (kW)
therm | 100 | kBtu
kBtu | 1000 | Btu
MMBtu | 1000000 | Btu
MMBtu | 10 | therm
Fuel | Factor | Unit | Reference
Petroleum (barrel (bbl)) | 42 | U.S. gallons (gal) | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Coal (1 short ton) | 2000 | pounds (lb) | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Coal (1 long ton) | 2240 | pounds (lb) | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
Coal (1 metric ton) | 1000 | kilograms (kg) | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
wood (1 cord (cd)) | 1.25 | short tons | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
wood (1 cord (cd)) | 128 | cubic feet (ft3) | http://www.eia.gov/totalenergy/data/annual/pdf/sec12.pdf
CO2 (1 metric ton) | 2205 | pounds (lb)